| INSTALLATION SYMBOLS | T.S. 2164 / 1.13 |
| --- | --- |

| SYMBOLS | NAME | SYMBOLS | NAME |
| --- | --- | --- | --- |
|  | Generally pipe holder |  | Acoustic signal |
|  | Pipe sliding bearing |  | Steam or water jet |
|  | Guided tube slide bearing |  | Rising pressure, temperature, calories, etc. (in rising of the adjusting element) |
|  | Roller bearing sliding tube |  | Decreased pressure, temperature, calories, etc. Also (opening when the actuating element falls off) |
|  | Roller tube slide bearing |  | Pressure, temperature above a certain upper limit etc. opening on the rise of |
|  | Fixed point connection |  | Pressure, temperature above a certain upper limit etc. opening on the rise of |
|  | Tube support from below |  | Pressure rising above a certain value, etc. also closing |
|  | Pipe hanger |  | Pressure falling below a certain value, etc. also covering |
|  | Spring pipe hanger |  | Two-way motorized transition valve |
|  | Spring tube support |  | Three-way motorized mixing valve |
|  | Regulating pipe support |  | Four-way motorized (dublex) mixing valve |
|  | Rain cap |  | Thermostatic transition valve |
|  | Collecting funnel |  | Generally speaking valve |
|  | Heating fluid sight glass |  | Hand wheel valve |
|  | Horizontal open expansion tank |  | Toggle operated valve |
|  | Vertical open (expansion) expansion tank |  | Piston mechanism commanded valve |
|  | Pump in general |  | Magnetic field controlled (solenoid) valve |
|  | Chimney draft limiter (chimney damper) |  | Motorized valve |
|  | Vent cock (purger) |  | Diaphragm valve |
|  | Ventilation (evacuation of the air in the installation) |  | Floating float commanded valve |
|  | Thermometer |  | Free passage inclined valve (kosva) |
|  | Hydrometer |  | Weighted safety valve |
|  | Manometer or vacuum meter |  | Spring safety valve |
|  | Liquid level indicator with local indicator |  | One-way free pass valve (with shut off command) |
|  | Verdimeter (calorimeter) |  | One-way free transition valve (check valve) (without shut-off command) |
|  | Electric switch |  | Suction valve (vertical valve sepek) |
|  | Optical signal | - | - |